## Versions
EV-ChART ¦ Data Input Template Please refer to the accompanying EV-ChART Data Format and Preparation Guide for questions.
Versions
Version | Notes
v1.0 | Released in May 2023.
v1.0 R1 | Released in August 2023. Revision to correct the unit of measurement for uptime calculation and outage from hours to minutes, so it is consistent with 23 CFR 680.
v2.0 | Released in October 2023. Revision includes: 1. Update the recommended list of error codes for Session Error. 2. Correct Field Name for "Charging Equipment Acquisition Date" in "Data_Dictionary", C110, and in "9_Capital_and_Install_Costs," H1. 3. Update the definition of Opportunity Program Participation and Maintenance and Repair Cost Reporting End Date, so they are consistent with 23 CFR 680. 4. Update the desciption of "none" in the recommended payment method list. 5. Update examples in DER Asset Type. 6. Minor correction for typos, formatting, and wording.

## Data_Dictionary
EV-ChART ¦ Data Input Template Please refer to the accompanying EV-ChART Data Format and Preparation Guide for questions.
Repeated Identifiers
Data Attribute | Field Name | Definition | Accepted Values
Station ID | station_id | This uniquely identifies a charging station (either ID or name). A charging station is the area in the immediate vicinity of a group of chargers and includes the chargers, supporting equipment, parking areas adjacent to the chargers, and lanes for vehicle ingress and egress. Note that a charging station could comprise only part of the property on which it is located. The specified Charging Station ID must be the same unique identifier used to identify the charging station in data made available to third-parties in §680.116(c)(1). The station_id attribute corresponds to location_id in OCPI 2.2.1. | Alphanumeric character string with no maximum character count. Reported as type: String Example: LOC1
Port ID | port_id | This uniquely identifies a charging port. A charging port is the system within a charger that charges one electric vehicle (EV). A charging port may have multiple connectors but it can provide power to only one EV through one connector at a time. In cases where there exist more than one (1) charging port on a charger, each charging port must be uniquely identified by a Charging Port ID. This specified Charging Port ID must be the same value used to identify the charging port in data made available to third-parties in 680.116(c)(8)(ii). The port_id attribute corresponds to evse_uid in OCPI 2.2.1. | Alphanumeric character string with no maximum character count. Reported as type: String Example: 3256 EG98
Project ID | project_id | Federal Award Identification Number (FAIN) or other identifiers that uniquely identify the NEVI Formula Program project and/or the grant awarded under 23 U.S.C. 151(f) for projects that are for EV charging stations located along and designed to serve the users of designated AFCs. | Alphanumeric character string with no maximum character count. Reported as type: String Example: AB-1234-567-89 12Q3456789
Module 1: Station Location
Submission Frequency: One Time
Data Attribute | Field Name | Definition | Accepted Values | Reporting | Constraint
Station ID | station_id | See definition in Unique Identifiers. | See definition in Repeated Identifiers. | Recommended | Primary Key
Station Address | station_address | The street address specifying the location of the charging station. All components of the street address should be given, including: street address number, street name and sub-address (e.g., floor or unit number). | Alphanumeric character string with no maximum character count. Reported as type: String Example: 0 Prince Street, Alexandria, VA 22314 0 1/2 Fifth Avenue, New York, NY 10003 210 East 400 South, Salt Lake City, UT 84111 Milepost 240 Parks Highway, Alaska Milepost 72.9 Interstate 84, Wasco County, OR Kilometer 0.5 Carretera 917, Urbanizacion April Gardens, Las Piedras, PR 00771 Kilometer 2 Hectometer 7 Carretera 175, Barrio San Antonio, Caguas, Puerto Rico 00725 N89W16758 Appleton Avenue, Menomonee Falls, WI 53051 W63N645 Washington Avenue, Cedarburg, WI 53012 5-5415 Kuhio Highway, Hanalei, HI 96714 194-03 1/2 50th Avenue, New York, NY 11365 A 19 Calle 11, Toa Alta, Puerto Rico | Recommended
Station City | station_city | The name of the incorporated municipality (or other general-purpose local governmental unit) in which the charging station is located. This field should be used to identify any rural settlement in an unincorporated area if applicable. | Alphanumeric character string with no maximum character count. Reported as type: String Example: 0 Prince Street, Alexandria VA 22314 0 1/2 Fifth Avenue, New York, NY 10003 210 East 400 South, Salt Lake City, UT 84111 Milepost 72.9 Interstate 84, Wasco County, OR Kilometer 0.5 Carretera 917, Urbanizacion April Gardens, Las Piedras, PR 00771 Kilometer 2 Hectometer 7 Carretera 175, Barrio San Antonio, Caguas, Puerto Rico 00725 N89W16758 Appleton Avenue, Menomonee Falls, WI 53051 W63N645 Washington Avenue, Cedarburg, WI 53012 5-5415 Kuhio Highway, Hanalei, HI 96714 194-03 1/2 50th Avenue, New York, NY 11365 A 19 Calle 11, Toa Alta, Puerto Rico | Recommended
Station State | station_state | Two-character U.S. Postal Service (USPS) abbreviation indicating the state (or state-equivalent) in which the charging station is located. A state (or equivalent) is a primary governmental division of the United States, including: the 50 US states, District of Columbia, and all U.S. territories and outlying possessions. | Alphanumeric character string with maximum character count of two (2). Reported as type: String(2) Example: IL DE PR | Recommended
Station ZIP | station_zip | The five-digit code that identifies the individual post office or metropolitan area delivery station associated with the address of a charging station. | Five-digit integer reported as String to accurately capture leading and lagging zeros. Reported as type: String(5) Example: 35242-3426 | Recommended
Station ZIP Extended | station_zip_extended | A four-digit extension of the five-digit station ZIP data attribute (preceded by a hyphen) that, in conjunction with station ZIP, identifies the specific range of USPS delivery addresses in which a charging station is located. | Four-digit integer reported as String to accurately capture leading and lagging zeros. Reported as type: String(4) Example: 35242-3426 | Recommended
Station Longitude | station_longitude | Longitude of the charging station location derived based on point placement and in decimal degrees. Note that a charging station could comprise only part of the property on which it is located. Provide the longitude specifically of the charging station rather than that of the parcel on which it is located. Unit: Decimal degrees | Decimal degree within the range [-180, 180] specified to at least eight (8) decimal places Reported as type: Decimal (11, 8) Example: -84.29049105 | Recommended
Station Latitude | station_latitude | Latitude of the charging station location derived based on point placement and in decimal degrees. Note that a charging station could comprise only part of the property on which it is located. Provide the latitude specifically of the charging station rather than that of the parcel on which it is located. Unit: Decimal degrees | Decimal degree within the range [-90, 90] specified to at least eight (8) decimal places Reported as type: Decimal (10, 8) Example: 33.77603207 | Recommended
Module 2: Charging Sessions
Submission Frequency: Quarterly
Data Attribute | Field Name | Definition | Accepted Values | Reporting | Constraint
Station ID | station_id | See definition in Unique Identifiers. | See definition in Repeated Identifiers. | Required | Primary Key
Charger ID | charger_id | This uniquely identifies a charger. A charger (or post) is a device with one or more charging ports and connectors for charging EVs. | Alphanumeric character string with no maximum character count. Reported as type: String Example: 403 | Recommended
Port ID | port_id | See definition in Unique Identifiers. | See definition in Repeated Identifiers. | Required | Primary Key
Session ID | session_id | This uniquely identifies each charging session. A charging session is a period of time that is initiated when an EV is connected to a charging port (plugged-in) and concludes when the EV is disconnected from the charging port (unplugged). The session_id attribute corresponds to session_id in OCPI 2.2.1. | Alphanumeric character string with no maximum character count. Reported as type: String Example: 101 01KOL | Required | Primary Key
Connector ID | connector_id | This uniquely identifies a single connector. A connector is the device that attaches the EV to charging ports in order to transfer electricity. The connector_id attribute corresponds to connector_id in OCPI 2.2.1. | Alphanumeric character string with no maximum character count. Reported as type: String Example: 101 | Recommended
Network Provider ID | provider_id | This uniquely identifies the charging network provider that enables the charging session (session ID). See ev_network field on the Alternative Fuel Data Center website (https://afdc.energy.gov/data_download/alt_fuel_stations_format) for recommended name for network provider. A charging network provider is the entity that operates the digital communication network that remotely manages the chargers. The provider_id attribute corresponds to the party_id field in OCPI 2.2.1. | Alphanumeric character string with no maximum character count. Reported as type: String Example: Tesla EVgo Network FCN | Recommended
Session Start | session_start | Timestamp (following RFC 3339 in UTC, as shown in OCPI 2.2.1 DateTime Section 16.2) identifying when the charging session (charging session ID) became active in the platform of the charging network provider. The session_start data attribute corresponds to start_date_time in Session Object in OCPI 2.2.1. A charging session is considered active when all pre-conditions for a session being accepted and active are met: There has been communication between the EV and charger (e.g., cable was correctly plugged in) and the EV or driver is authorized by the network provider to charge. At this time the EV is being charged (or can be charged) and energy is (or is not) being transferred to the EV. Unit: UTC | YYYY-MM-DD HH:mm:ss in UTC Reported as type: DateTime Example: 2023-07-03T12:51:48Z | Required
Session End | session _end | Timestamp (following RFC 3339 in UTC, as shown in OCPI 2.2.2 DateTime Section 16.2) identifying when the charging session (charging session ID) was completed. The session_end data attribute corresponds to end_date_time in Session Object in OCPI 2.2.1. Note that charging might have finished before the session ends (e.g., EV is full but customer must continue to pay for parking spot until session is completed). Unit: UTC | YYYY-MM-DD HH:mm:ss in UTC Reported as type: DateTime Example: 2023-07-03T12:51:48Z | Required
Session Error | session_error | Any error codes associated with an unsuccessful charging session. If more than one (1) error code is associated with an unsuccessful charging session, a comma-separated list of all relevant error codes must be given. Specify "None" if there are no errors associated with the charging session. Recommended list of error codes: none (None): No errors associated with the charging session. CX001 (ConnectorLockFailure): Failure to lock or unlock connector on the vehicle side. CX002 (GroundFailure): Ground fault circuit interrupter has been activated. CX003 (HighTemperature): High temperature inside the EVSE is derating power delivery. CX004 (OverCurrentFailure): Over current protection device has tripped. CX005 (OverVoltage): Input voltage to the vehicle has risen above an acceptable level. CX006 (UnderVoltage): Input voltage to the vehicle has dropped below an acceptable level. CX007 (WeakSignal): Wireless communication device reported a weak signal. CX008 (EmergencyStop): Emergency stop is pressed by the user (required if equipped). CX009 (AuthorizationTimeout): The user plugs in but fails to authorize a charging session prior to the connection timeout between the vehicle and EVSE. CX010 (InvalidVehicleMode): The vehicle is in an invalid mode for charging. CX011 (CableCheckFailure): Failure during the cable check phase. Includes isolation failure. CX012 (PreChargeFailure): The EVSE did not reach the correct pre-charge voltage. CX013 (NoInternet): The EVSE has no internet connectivity. CX014 (PilotFault): The control pilot voltage is out of range. CX015 (PowerLoss): The EVSE is unable to supply any power due to mains failure. CX016 (EVContactorFault): Contactors fail to open or close on the vehicle side. May also include welding related errors. CX017 (EVSEContactorFault): Contactors fail to open or close on EVSE’s side. May also include welding related errors. CX018 (CableOverTempDerate): Temperature of charging cable or connector assembly is too high, resulting in reduced power operation. CX019 (CableOverTempStop): Temperature of charging cable or connector assembly is too high, resulting in a stopped charging session. CX020 (PartialInsertion): Cable latch is raised due to incomplete insertion into the vehicle charging port. CX021 (CapacitanceFault): An Isolation Monitoring Device tripped due to high capacitance during active charging. CX022 (ResistanceFault): An Isolation Monitoring Device tripped due to low resistance to the chassis during active charging. CX023 (ProximityFault): The proximity voltage is out of range. CX024 (ConnectorVoltageHigh): The output voltage of EVSE is high before charging starts or after charging ends. CX025 (BrokenLatch): The latch on the connector is broken. CX026 (CutCable): The output cable has been severed from the EVSE. other (Other): Any other errors not specified above. Additional description must be provided in session error description. More information on recommended error codes can be found in "Recommendations for Minimum Required Error Codes for Electric Vehicle Charging Infrastructure" and "Implementation Guide for Minimum Required Error Codes in Electric Vehicle Charging Infrastructure" by ChargeX Consortium (https://inl.gov/chargex/). | Alphanumeric character string with no maximum character count. Reported as type: String Example: {CX020} {CX009, CX013} {CX025, other} {other} {none} | Required
Session Error Description | error_other | The description for any other error codes associated with an unsuccessful charging session that are not categorized in the recommended error codes in session_error (i.e., "other" was selected for session_error). If multiple errors need to be defined, they should be given by a comma-separated list. | Alphanumeric character string with no maximum character count. Reported as type: String Example: {error description 1} {error description 1, error description 2} | Recommended
Energy Charged | energy_kwh | Amount of energy (in kilowatt-hours) dispensed by the port (port ID) during the charging session (session ID). Energy charged corresponds to the attribute ENERGY_IMPORT defined in the CdrDimensionType object in OCPI 2.2.1. Specify value as none for a session that was not successful-i.e., no energy was dispensed and a non-empty value of session error is associated with this charging session. Unit: kWh | Numeric value greater than zero for any successful charging specified to at least two (2) decimal places Reported as type: Decimal(7,2) Example: 52.31 none | Required
Peak Power | power_kw | Maximum power (in kilowatts) dispensed by the port (port ID) during charging session (session ID). Peak power corresponds to the MAX_POWER attribute defined in the CdrDimensionType object in OCPI 2.2.1. Specify value as "none" for a session that was not successful-i.e., no energy was dispensed and a non-empty value of session error is associated with this charging session. Unit: kW | Numeric value greater than zero for any successful charging specified to at least two (2) decimal places Reported as type: Decimal(7,2) Example: 120.43 none | Required
Payment Method | payment_method | Method(s) of payment used to complete the charging session (session ID). If more than one (1) payment method is associated with a charging session, a comma-separated list of all relevant payment methods must be given. recommended list of payment methods: none: Successful or unsuccessful charging session with no payment received membership: Payment by membership account and/or membership card credit_card_terminal: Payment via credit card or debit card terminal phone_online: Payment through mobile app, website, automated phone number or messaging system plug_charge: Payment via ISO 15118 Plug and Charge roaming: Payment via roaming partners other: Any other payment method not specified above. Additional description should be provided in Payment Method Description. | Alphanumeric character string with no maximum character count. Reported as type: String Example: {membership} {credit_card_terminal, phone_online} {other} {none} | Required
Payment Method Description | payment_other | The description for any method(s) of payment used to complete the charging session that are not categorized in the recommended payment methods in payment_method (i.e., "other" was selected for payment_method). If multiple payments need to be defined, they should be given by a comma-separated list. | Alphanumeric character string with no maximum character count. Reported as type: String Example: {cash} {cash, transit card} | Recommended
Module 3: Uptime
Submission Frequency: Quarterly
Data Attribute | Field Name | Definition | Accepted Values | Reporting | Constraint
Station ID | station_id | See definition in Unique Identifiers. | See definition in Repeated Identifiers. | Required | Primary Key
Port ID | port_id | See definition in Unique Identifiers. | See definition in Repeated Identifiers. | Required | Primary Key
Uptime Reporting Start Date | uptime_reporting_start | Timestamp (following RFC 3339 in UTC, as shown in OCPI 2.2.2 DateTime Section 16.2) identifying the start date of the reporting period for port uptime, total outage, and total excluded outage. Unit: UTC | YYYY-MM-DD HH:mm:ss in UTC Reported as type: DateTime Example: 2023-07-03T12:51:48Z | Required | Primary Key
Uptime Reporting End Date | uptime_reporting_end | Timestamp (following RFC 3339 in UTC, as shown in OCPI 2.2.2 DateTime Section 16.2) identifying the end date of the reporting period for port uptime, total outage, and total excluded outage. Unit: UTC | YYYY-MM-DD HH:mm:ss in UTC Reported as type: DateTime Example: 2023-07-03T12:51:48Z | Required
Uptime | uptime | The uptime of a port (port ID) is the time over the previous 12 months when a charger's hardware and software are both online and available for use, or in use, and the charging port successfully dispenses electricity in accordance with requirements for minimum power level. 23 CFR 680.112 and 23 CFR 680.116(b) requires that port uptime be calculated on a monthly basis for the previous twelve months, in accordance with the equation in 23 CFR 680.116(b)(3) for each month of the reporting period: µ = ((525,600 − (T_outage − T_excluded)) / 525,600) × 100 Where: µ = port uptime percentage for a given port ID T_outage = total minutes of outage for the port ID in previous year T_excluded = total minutes of outage for the port ID in previous year for reasons outside the charging station operator's control. Reasons for outage outside the charging station operator’s control provided that the charging station operator can demonstrate that the charging port would otherwise be operational may include but are not limited to: electric utility service interruptions, failure to charge or meet the EV charging customer's expectation for power delivery due to the fault of the vehicle, scheduled maintenance, vandalism, or natural disasters. Also excluded are hours outside of the identified hours of operation of the charging station. Port uptime must be calculated as a rolling, annual percentage according to the above formula that is updated each month. Unit: Percentage | Numeric value equal to or greater than zero and equal to or less than 100 and specified to at least two (2) decimal places Reported as type: Decimal (5, 2) Example: 98.23 0.00 100.00 | Required
Total Outage | total_outage | The total time (in minutes) over the previous 12 months during which the charging port (port ID) did not successfully dispense electricity as expected. This corresponds to the T_outage value in port uptime formula in 23 CFR 680.116(b). Unit: Minutes | Numeric value equal to or greater than zero and specified to at least two (2) decimal places Reported as type: Decimal(6,2) Example: 50.25 0.00 8760.00 | Required
Total Excluded Outage | total_outage_excl | The total time (in minutes) over the previous 12 months during which the charging port (port ID) did not successfully dispense electricity as expected for reasons outside the charging station operator's control, provided that the charging station operator can demonstrate that the charging port would otherwise be operational: electric utility service interruptions, failure to charge or meet the EV charging customer's expectation for power delivery due to the fault of the vehicle, scheduled maintenance, vandalism, or natural disasters. Also excluded are hours outside of the identified hours of operation of the charging station. This corresponds to the T_excluded value in port uptime formula in 23 CFR 680.116(b). Charging station operators should be able to demonstrate that the charging port would otherwise be operational. Unit: Minutes | Numeric value equal to or greater than zero and specified to at least two (2) decimal places Reported as type: Decimal(6,2) Example: 50.25 0.00 8760.00 | Required
Module 4: Outages
Submission Frequency: Quarterly
Data Attribute | Field Name | Definition | Accepted Values | Reporting | Constraint
Station ID | station_id | See definition in Unique Identifiers. | See definition in Repeated Identifiers. | Required | Primary Key
Port ID | port_id | See definition in Unique Identifiers. | See definition in Repeated Identifiers. | Required | Primary Key
Outage ID | outage_id | Timestamp uniquely identifying a single instance of an outage for a given charging port (port ID). An outage is any period of time during which a charging port cannot successfully dispense electricity as expected. Outages must be identified regardless of whether their occurrence is for reasons outside of the control of the charging station operator (see outage and excluded outage data attributes for details). The outage_id should follow RFC 3339 in UTC, as shown in OCPI 2.2.1 DateTime type. Unit: UTC | YYYY-MM-DD HH:mm:ss in UTC datetime Reported as type: DateTime Example: 2023-07-03T12:51:48Z | Required | Primary Key
Outage Duration | outage_duration | Length of time (in minutes) during which the charging port (port ID) could not successfully dispense electricity as expected. Outage duration must be reported for each outage instance (outage ID) and measure the duration of the entire outage, starting from initial disruption in electricity being dispensed as expected to when charging port is able to dispense electricity again successfully. Unit: Minute | Numeric value greater than zero and specified to at least one (1) decimal place Reported as type: Decimal(8,2) Example: 120.55 | Required
Module 5: Maintenance Costs
Submission Frequency: Annual
Data Attribute | Field Name | Definition | Accepted Values | Reporting | Constraint
Station ID | station_id | See definition in Unique Identifiers. | See definition in Repeated Identifiers. | Required | Primary Key
Project ID | project_id | See definition in Unique Identifiers. | See definition in Repeated Identifiers. | Recommended
Maintenance and Repair Cost Reporting Start Date | maintenance_report_start | Timestamp (following RFC 3339 in UTC, as shown in OCPI 2.2.2 DateTime Section 16.2) identifying the start date associated with reported maintenance and repair costs. Maintenance and repair cost data are reported on an annual basis, on or before March 1 for the previous calendar year. Unit: UTC | YYYY-MM-DD HH:mm:ss in UTC Reported as type: DateTime Example: 2023-07-03T12:51:48Z | Required | Primary Key
Maintenance and Repair Cost Reporting End Date | maintenance_report_end | Timestamp (following RFC 3339 in UTC, as shown in OCPI 2.2.2 DateTime Section 16.2) identifying the end date associated with reported maintenance and repair costs. Maintenance and repair cost data are reported on an annual basis, on or before March 1 for the previous calendar year. Unit: UTC | YYYY-MM-DD HH:mm:ss in UTC Reported as type: DateTime Example: 2023-07-03T12:51:48Z | Required
Charging as a Service | caas | Indicator for whether total maintenance and repair cost at the charging station (charging station ID) is reported as a total cost from a 'charging as a service' agreement that does not provide itemized maintenance and repair cost, and the total cost may include equipment acquisition, installation, and other services. | Either the word 'TRUE' or 'FALSE' Reported as type: Boolean Example: TRUE | Recommended
Total Maintenance and Repair Cost | maintenance_cost_total | Total amount paid for maintenance and repair at the charging station (charging station ID) during the calendar year specified in maintenance and repair cost reporting year. Unit: USD | Numeric value equal to or greater than zero and specified to at least two (2) decimal places Reported as type: Decimal(9,2) Example: 2500.25 | Required
Federal Maintenance and Repair Cost | maintenance_cost_federal | Total amount paid for maintenance and repair at the charging station (charging station ID) during the calendar year specified in maintenance and repair cost reporting year with federal funding. Unit: USD | Numeric value equal to or greater than zero and specified to at least two (2) decimal places Reported as type: Decimal(9,2) Example: 1800.00 | Required
Module 6: Station Operator Identity
Submission Frequency: One Time
Data Attribute | Field Name | Definition | Accepted Values | Reporting | Constraint
Station ID | station_id | See definition in Unique Identifiers. | See definition in Repeated Identifiers. | Required | Primary Key
Station Operator Name | operator_name | Name of the entity that operates and maintains the chargers and supporting equipment and facilities of the charging station known as the charging station operator. In some cases, the charging station operator and the charging network provider are the same entity. | Alphanumeric character string with no maximum character count. Reported as type: String Example: Electrify America | Required
Station Operator Address | operator_address | The street address specifying the headquarters of the charging station operator. | Alphanumeric character string with no maximum character count. Reported as type: String Example: see station address | Required
Station Operator City | operator_city | The name of the incorporated municipality (or other general-purpose local governmental unit) in which the headquarters of the charging station operator is located. This field should be used to identify any rural settlement in an unincorporated area if applicable. | Alphanumeric character string with no maximum character count. Reported as type: String Example: see station city | Required
Station Operator State | operator_state | Two-character USPS abbreviation indicating the state (or state-equivalent) in which the headquarters of the charging station operator is located. A state (or equivalent) is a primary governmental division of the United States, including: the 50 U.S. states, District of Columbia, and all U.S. territories and outlying possessions. | Alphanumeric character string with maximum character count of two (2). Reported as type: String(2) Example: see station state | Required
Station Operator ZIP | operator_zip | The five-digit code that identifies the individual post office or metropolitan area delivery station associated with the address of the headquarters of the charging station operator. | Five-digit integer reported as String to accurately capture leading and lagging zeros. Reported as type: String(5) Example: 35242-3426 | Required
Station Operator ZIP Extended | operator_zip_extended | A four-digit extension of the five-digit charging station ZIP code (preceded by a hyphen) that, in conjunction with the charging station operator zip data attribute, identifies the specific range of USPS delivery addresses in which the headquarters of the charging station operator is located. | Four-digit integer reported as String to accurately capture leading and lagging zeros. Reported as type: String(4) Example: 35242-3426 | Recommended
Module 7: Station Operator Program
Submission Frequency: Annual
Data Attribute | Field Name | Definition | Accepted Values | Reporting | Constraint
Station ID | station_id | See definition in Unique Identifiers. | See definition in Repeated Identifiers. | Required | Primary Key
Opportunity Program Reporting Year | program_report_year | Calendar year associated with the charging station operator's participation in community opportunity programs. Participation data are reported on an annual basis, on or before March 1. | Four-digit integer between 2023 and 2050 Reported as type: Integer(4) Example: 2024 | Required | Primary Key
Opportunity Program Participation | opportunity_program | The type of State or local business opportunity certification program(s) the operator of the charging station participated in during the calendar year specified in opportunity program reporting year. If the charging station participates in more than one (1) opportunity program(s), a comma-separated list of all types must be given. Recommended list of opportunity programs: none: The business does not identify as participating in any state or local business opportunity certification program. minority_owned: The business identifies as participating in a state or local business opportunity certification program for minority-owned businesses. veteran_owned: The business identifies as participating in a state or local business opportunity certification program for veteran-owned businesses. woman_owned: The business identifies as participating in a state or local business opportunity certification program for woman-owned businesses. economically_disadvantaged_owned: The business identifies as participating in a state or local business opportunity certification program for businesses owned by economically disadvantaged individuals. other: The business identifies as participating in another state or local business opportunity certification program. Additional description should be provided in the opportunity program description. | Alphanumeric character string with no maximum character count. Reported as type: String Example: {veteran_owned, woman_owned} {woman_owned} {veteran_owned, other} {other} {none} | Required
Opportunity Program Description | program_descript | The description of opportunity_program if "other" is chosen from the recommended opportunity programs. The structure should be: "the_description_of_the_opportunity_program-the definition." If multiple opportunity programs need to be named, they should be given by a comma-separated list. | Alphanumeric character string with no maximum character count. Reported as type: String Example: lgbtq_owned-business has 51% LGBTQ ownership | Recommended
Module 8: DER Information
Submission Frequency: One Time
Data Attribute | Field Name | Definition | Accepted Values | Reporting | Constraint
Station ID | station_id | See definition in Unique Identifiers. | See definition in Repeated Identifiers. | Required | Primary Key
DER Upgrade | der_upgrade | Indicator whether the charging station (station ID) is an existing station (i.e., charging stations that were installed prior to this funded project and/or grant) that uses Federal funds for updates, upgrades, or replacements of the Distributed Energy Resource on-site. 'TRUE' if the charging station is an existing station, 'FALSE' if the charging station is a new station. | Either the word 'TRUE' or 'FALSE' Reported as type: Boolean Example: TRUE | Recommended
Distributed Energy Resource On-Site | der_onsite | Indicator for whether a DER is present at the charging station. A DER is defined as any small, modular, energy generation and storage technologies that provide electric capacity or energy where it is needed. | Either the word 'TRUE' or 'FALSE' Reported as type: Boolean Example: TRUE | Required
DER Asset Type | der_type | The type of asset(s) that comprise the DER available on-site. This should only be for one (1) asset type. If more than one (1) asset type comprises the DER on-site, an additional record/row should be submitted. If der_onsite is 'FALSE' the value should be none Recommended list of assets: solar wind stationary_battery hydrogen_fuel_cell other none | Alphanumeric character string with no maximum character count. Reported as type: String Example: {solar} {none} {wind, other} | Required | Primary Key
DER Asset Type Description | der_type_other | The name and description for any other type(s) of assets that are not categorized in the recommended DER asset type. The structure should be: "the_name_of_the_DER-the definition." | Alphanumeric character string with no maximum character count. Reported as type: String Example: combined_heat_and_power_units-utilize waste heat to provide cooling | Recommended
Power Output Capacity | der_kw | The power generation capacity (in kilowatts) of the DER as power generation or the maximum discharge power capacity (in kilowatts) of the DER as energy storage available on-site. If der_onsite is 'FALSE' the value should be 0 (zero) Unit: kW | Numeric value greater than or equal to zero and specified to the nearest whole number Reported as type: Integer Example: 100 0 | Required
Energy Storage Capacity | der_kwh | The capacity (in kilowatt-hours) of the DER as energy storage available on-site. If der_onsite is 'FALSE' the value should be 0 (zero) Unit: kWh | Numeric value greater than or equal to zero and specified to the nearest whole number Reported as type: Integer Example: 45 0 | Required
Module 9: Capital and Installation Costs
Submission Frequency: One Time
Data Attribute | Field Name | Definition | Accepted Values | Reporting | Constraint
Station ID | station_id | See definition in Unique Identifiers. | See definition in Repeated Identifiers. | Required | Primary Key
Project ID | project_id | See definition in Unique Identifiers. | See definition in Repeated Identifiers. | Recommended
Station Upgrade | station_upgrade | Indicator whether the charging station (station ID) is an existing station (i.e., charging stations that were installed prior to this funded project and/or grant) that uses Federal funds for updates, upgrades, or replacements. 'TRUE' if the charging station is an existing station, 'FALSE' if the charging station is a new station. | Either the word 'TRUE' or 'FALSE' Reported as type: Boolean Example: TRUE | Recommended
Real Property Acquisition Date | real_property_acq_date | Timestamp (following RFC 3339 in UTC, as shown in OCPI 2.2.2 DateTime Section 16.2) identifying the date associated with acquisition of the real property on which the charging station (station ID) is located. Unit: UTC | YYYY-MM-DD HH:mm:ss in UTC Reported as type: DateTime Example: 2023-07-03T12:51:48Z | Recommended
Real Property Acquisition Owned | real_property_acq_owned | Indicator for whether the real property on which the charging station (station ID) is located is purchased or leased. 'TRUE' if the real property is acquired by a purchase agreement, 'FALSE' if the real property is acquired by a lease agreement. | Either the word 'TRUE' or 'FALSE' Reported as type: Boolean Example: TRUE | Recommended
Total Real Property Acquisition Cost | real_property_cost_total | Total amount paid for the parcel on which the charging station (station ID) is located. A parcel is bounded by a property line or a designated portion of a public thoroughfare. Note that a charging station could comprise only part of the property on which it is located. For real property that is leased, total real property acquisition cost should be the annualized leasing cost. Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Required
Federal Real Property Acquisition Cost | real_property_cost_federal | Total amount paid using federal funding for the parcel on which the charging station (station ID) is located. A parcel is bounded by a property line or a designated portion of a public thoroughfare. Note that a charging station could comprise only part of the property on which it is located. For real property that is leased, federal real property acquisition cost should be the annualized leasing cost using federal funding. Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Required
Charging Equipment Acquisition Date | equipment_acq_date | Timestamp (following RFC 3339 in UTC, as shown in OCPI 2.2.2 DateTime Section 16.2) identifying the date associated with acquisition of the charging equipment associated with a given charging station (station ID). Unit: UTC | YYYY-MM-DD HH:mm:ss in UTC Reported as type: DateTime Example: 2023-07-03T12:51:48Z | Recommended
Charging Equipment Acquisition Owned | equipment_acq_owned | Indicator for whether the charging equipment associated with a given charging station (station ID) is purchased or leased. 'TRUE' if the charging equipment is purchased, 'FALSE' if the charging equipment is leased or acquired as part of 'charging as a service' agreement. | Either the word 'TRUE' or 'FALSE' Reported as type: Boolean Example: TRUE | Recommended
Total Charging Equipment Acquisition Cost | equipment_cost_total | Total amount paid for the charging equipment associated with a given charging station (station ID). For charging equipment that is leased, the total charging equipment acquisition cost should be the annualized leasing cost. For charging equipment that is part of a 'charging as a service' agreement without itemized charging equipment acquisition cost, use total maintenance and repair cost to report service cost that includes equipment, maintenance and repair. Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Required
Federal Charging Equipment Acquisition Cost | equipment_cost_federal | Total amount paid using federal funding for the charging equipment associated with a given charging station (station ID). For charging equipment that is leased, federal charging equipment acquisition cost should be the annualized leasing cost using federal funding. For charging equipment that is part of a 'charging as a service' agreement without itemized charging equipment acquisition cost, use total maintenance and repair cost to report service cost that includes equipment, maintenance and repair. Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Required
Charging Equipment Installation Date | equipment_install_date | Timestamp (following RFC 3339 in UTC, as shown in OCPI 2.2.2 DateTime Section 16.2) identifying the installation data of the charging equipment associated with a given charging station (station ID). Unit: UTC | YYYY-MM-DD HH:mm:ss in UTC Reported as type: DateTime Example: 2023-07-03T12:51:48Z | Recommended
Total Charging Equipment Installation Cost | equipment_install_cost_total | Total amount paid for the installation of charging equipment at a given charging station (station ID). Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Required
Federal Charging Equipment Installation Cost | equipment_install_cost_federal | Total amount paid using federal funding for the installation of charging equipment at a given charging station (station ID) . Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Required
Charging Equipment Installation Cost - Electric Material | equipment_install_cost_elec | Total amount paid for electrical materials (e.g., conduit/wiring, switchgears, insulation) for the installation of the charging equipment at a given charging station (Station ID). This cost should be part of the Total Charging Equipment Installation Cost. Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Recommended
Charging Equipment Installation Cost - Construction Material | equipment_install_cost_const | Total amount paid for construction materials (e.g., concrete, asphalt, wheel stops) for the installation of the charging equipment at a given charging station (Station ID). This cost should be part of the Total Charging Equipment Installation Cost. Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Recommended
Charging Equipment Installation Cost - Labor | equipment_install_cost_labor | Total amount paid for labor for the installation of the charging equipment at a given charging station (Station ID). This cost should be part of the Total Charging Equipment Installation Cost. Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Recommended
Charging Equipment Installation Cost - Other | equipment_install_cost_other | Total amount paid for items that is not associated with electric material, construction material or labor for the installation of the charging equipment at a given charging station (Station ID). This cost should be part of the Total Charging Equipment Installation Cost. Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Recommended
Distributed Energy Acquisition Owned | der_acq_owned | Indicator for whether the DER components, including energy generation and storage equipment, are purchased or leased. 'TRUE' if the DER components are purchased, 'FALSE' if the DER are leased. | Either the word 'TRUE' or 'FALSE' Reported as type: Boolean Example: TRUE | Recommended
Total Distributed Energy Acquisition Cost | der_cost_total | Total amount paid for the acquisition of DER components, including energy generation and storage equipment. This value is distinct from the purchase price of the charging equipment (charging equipment acquisition cost). For DER components that are leased, total distributed energy acquisition cost should be the annualized leasing cost. Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Required
Federal Distributed Energy Acquisition Cost | der_cost_federal | Total amount paid using federal funding for the acquisition of DER components, including energy generation and storage equipment. This value is distinct from the purchase price of the charging equipment (charging equipment acquisition cost). For DER components that are leased, federal distributed energy acquisition cost should be the annualized leasing cost using federal funding. Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Required
Total Distributed Energy Installation Cost | der_install_cost_total | Total amount paid for the installation of the DER on-site. Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Required
Federal Distributed Energy Installation Cost | der_install_cost_federal | Total amount paid using federal funding for the installation of the DER on-site. Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Required
Total System Cost | system_cost_total | Total system upgrade costs paid to the utility in order to enable grid connection (e.g., upgrades to substation, transmission lines, main feeder). Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Required
Federal System Cost | system_cost_federal | Total system upgrade costs paid using federal funding to the utility in order to enable grid connection (e.g., upgrades to substation, transmission lines, main feeder). Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Required
Total Distribution Cost | distribution_cost_total | Total distribution work costs paid to the utility in order to enable grid connection (e.g., extensions to overhead or underground lines; upgrades from single-phase to three-phase lines). Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Required
Federal Distribution Cost | distribution_cost_federal | Total distribution work costs paid using federal funding to the utility in order to enable grid connection (e.g., extensions to overhead or underground lines, upgrades from single-phase to three-phase lines). Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Required
Total Service Cost | service_cost_total | Total service costs paid to the utility in order to enable grid connection (e.g., cost of poles, transformers, meters, and on-service connection equipment). Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Required
Federal Service Cost | service_cost_federal | Total service costs paid using federal funding to the utility in order to enable grid connection (e.g., cost of poles, transformers, meters, and on-service connection equipment). Unit: USD | Numeric value equal to or greater than zero specified to two (2) decimal places Reported as type: Decimal (11, 2) Example: 1010.00 0.00 | Required

## 1_Station_Location
station_id | station_address | station_city | station_state | station_zip | station_zip_extended | station_longitude | station_latitude
String | String | String | String(2) | String(5) | String(4) | Decimal (11, 8) | Decimal (10,8)
Recommended | Recommended | Recommended | Recommended | Recommended | Recommended | Recommended | Recommended

## 2_Charging_Sessions
station_id | charger_id | port_id | session_id | connector_id | provider_id | session_start | session _end | session_error | error_other | energy_kwh | power_kw | payment_method | payment_other
String | String | String | String | String | String | DateTime | DateTime | String | String | Decimal (7,2) | Decimal (7,2) | String | String
Required | Recommended | Required | Required | Recommended | Recommended | Required | Required | Required | Recommended | Required | Required | Required | Recommended

## 3_Uptime
station_id | port_id | uptime_reporting_start | uptime_reporting_end | uptime | total_outage | total_outage_excl
String | String | DateTime | DateTime | Decimal (5,2) | Decimal (6,2) | Decimal (6,2)
Required | Required | Required | Required | Required | Required | Required

## 4_Outages
station_id | port_id | outage_id | outage_duration
String | String | DateTime | Decimal(8,2)
Required | Required | Required | Required

## 5_Maintenance_Costs
station_id | project_id | maintenance_report_start | maintenance_report_end | caas | maintenance_cost_total | maintenance_cost_federal
String | String | DateTime | DateTime | Boolean | Decimal(9,2) | Decimal(9,2)
Required | Recommended | Required | Required | Recommended | Required | Required

## 6_Station_Operator_Identity
station_id | operator_name | operator_address | operator_city | operator_state | operator_zip | operator_zip_extended
String | String | String | String | String(2) | String(5) | String(4)
Required | Required | Required | Required | Required | Required | Recommended

## 7_Station_Operator_Program
station_id | program_report_year | opportunity_program | program_descript
String | Integer(4) | String | String
Required | Required | Required | Recommended

## 8_DER_Information
station_id | der_upgrade | der_onsite | der_type | der_type_other | der_kw | der_kwh
String | Boolean | Boolean | String | String | Integer | Integer
Required | Recommended | Required | Required | Recommended | Required | Required

## 9_Capital_and_Install_Costs
station_id | project_id | station_upgrade | real_property_acq_date | real_property_acq_owned2 | real_property_cost_total | real_property_cost_federal | equipment_acq_date | equipment_acq_owned | equipment_cost_total | equipment_cost_federal | equipment_install_date | equipment_install_cost_total | equipment_install_cost_federal | equipment_install_cost_elec | equipment_install_cost_const | equipment_install_cost_labor | equipment_install_cost_other | der_acq_owned | der_cost_total | der_cost_federal | der_install_cost_total | der_install_cost_federal | system_cost_total | system_cost_federal | distribution_cost_total | distribution_cost_federal | service_cost_total | service_cost_federal
String | String | Boolean | DateTime | Boolean | Decimal(11,2) | Decimal(11,2) | DateTime | Boolean | Decimal(11,2) | Decimal(11,2) | DateTime | Decimal(11,2) | Decimal(11,2) | Decimal(11,2) | Decimal(11,2) | Decimal(11,2) | Decimal(11,2) | Boolean | Decimal(11,2) | Decimal(11,2) | Decimal(11,2) | Decimal(11,2) | Decimal(11,2) | Decimal(11,2) | Decimal(11,2) | Decimal(11,2) | Decimal(11,2) | Decimal(11,2)
Required | Recommended | Recommended | Recommended | Recommended | Required | Required | Recommended | Recommended | Required | Required | Recommended | Required | Required | Recommended | Recommended | Recommended | Recommended | Recommended | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required